# 7.	INSPECTION AND TEST PROCEDURES

# Motor Control, Motor Control Centers, Low-Voltage

        - Refer to Section 7.1 for appropriate inspections and tests of the motor control center bus.

        - Refer to Section 7.5.1.1 for appropriate inspections and tests of the motor control center switches.

        - Refer to Section 7.6 for appropriate inspections and tests of the motor control center circuit breakers.

        - Refer to Section 7.16.1.1 for appropriate inspections and tests of the motor control center starters.

Page 157

ANSI/NETA ATS-2021